## Inventory Fuel
Site
Month
|  | Product | Nolead |  | Year |  |  |  | Enter Fuel Sales For Nolead, Mid Grade and Premium Below
| Tank Diameter |  | Tank Size
|  |  | Water Check |  | Date
|  |  |  | INCHS | [6 empty] | o11 + q11 must = 100
|  | Do Not | Gross | [5 empty] | Nolead Sales |  | Mid Grade Sales |  | Premium Sales
| Start | Enter Sales | Loads | Book | Stick | Long
| Inventory | Here | In | Inventory | Inventory | Short |  |  |  | 0.5 |  | 0.5
1 |  | 0 |  | 0 |  | 0 | 0 | 1 |  | 0 |  | 0
2 | 0 | 0 |  | 0 |  | 0 | 0 | 2 |  | 0 |  | 0
3 | 0 | 0 |  | 0 |  | 0 | 0 | 3 |  | 0 |  | 0
4 | 0 | 0 |  | 0 |  | 0 | 0 | 4 |  | 0 |  | 0
5 | 0 | 0 |  | 0 |  | 0 | 0 | 5 |  | 0 |  | 0
6 | 0 | 0 |  | 0 |  | 0 | 0 | 6 |  | 0 |  | 0
7 | 0 | 0 |  | 0 |  | 0 | 0 | 7 |  | 0 |  | 0
8 | 0 | 0 |  | 0 |  | 0 | 0 | 8 |  | 0 |  | 0
9 | 0 | 0 |  | 0 |  | 0 | 0 | 9 |  | 0 |  | 0
10 | 0 | 0 |  | 0 |  | 0 | 0 | 10 |  | 0 |  | 0
11 | 0 | 0 |  | 0 |  | 0 | 0 | 11 |  | 0 |  | 0
12 | 0 | 0 |  | 0 |  | 0 | 0 | 12 |  | 0 |  | 0
13 | 0 | 0 |  | 0 |  | 0 | 0 | 13 |  | 0 |  | 0
14 | 0 | 0 |  | 0 |  | 0 | 0 | 14 |  | 0 |  | 0
15 | 0 | 0 |  | 0 |  | 0 | 0 | 15 |  | 0 |  | 0
16 | 0 | 0 |  | 0 |  | 0 | 0 | 16 |  | 0 |  | 0
17 | 0 | 0 |  | 0 |  | 0 | 0 | 17 |  | 0 |  | 0
18 | 0 | 0 |  | 0 |  | 0 | 0 | 18 |  | 0 |  | 0
19 | 0 | 0 |  | 0 |  | 0 | 0 | 19 |  | 0 |  | 0
20 | 0 | 0 |  | 0 |  | 0 | 0 | 20 |  | 0 |  | 0
21 | 0 | 0 |  | 0 |  | 0 | 0 | 21 |  | 0 |  | 0
22 | 0 | 0 |  | 0 |  | 0 | 0 | 22 |  | 0 |  | 0
23 | 0 | 0 |  | 0 |  | 0 | 0 | 23 |  | 0 |  | 0
24 | 0 | 0 |  | 0 |  | 0 | 0 | 24 |  | 0 |  | 0
25 | 0 | 0 |  | 0 |  | 0 | 0 | 25 |  | 0 |  | 0
26 | 0 | 0 |  | 0 |  | 0 | 0 | 26 |  | 0 |  | 0
27 | 0 | 0 |  | 0 |  | 0 | 0 | 27 |  | 0 |  | 0
28 | 0 | 0 |  | 0 |  | 0 | 0 | 28 |  | 0 |  | 0
29 | 0 | 0 |  | 0 |  | 0 | 0 | 29 |  | 0 |  | 0
30 | 0 | 0 |  | 0 |  | 0 | 0 | 30 |  | 0 |  | 0
31 | 0 | 0 |  | 0 |  | 0 | 0 | 31 |  | 0 |  | 0
| Total Gallons pumped |  | 0 |  | Total Gallons Long and Short |  | 0
| Drop the last 2 digits from the total gallons |  |  |  | Compare these two numbers
| Leak Check |  | 0 | + 130 = |  |  | 130
PASS
Tank Management Service Inc. |  |  | Topeka Kansas |  | Phone 800-530-5683 or 785-233-1414
Site
Site
Month
|  | Product | Premium |  | Year
| Tank Diameter |  | Tank Size
|  |  | Water Check |  | Date
INCHS
|  | Do Not | Gross
| Start | Enter Sales | Loads | Book | Stick | Long
| Inventory | Here | In | Inventory | Inventory | Short
1 |  | 0 |  | 0 |  | 0 | 0
2 | 0 | 0 |  | 0 |  | 0 | 0
3 | 0 | 0 |  | 0 |  | 0 | 0
4 | 0 | 0 |  | 0 |  | 0 | 0
5 | 0 | 0 |  | 0 |  | 0 | 0
6 | 0 | 0 |  | 0 |  | 0 | 0
7 | 0 | 0 |  | 0 |  | 0 | 0
8 | 0 | 0 |  | 0 |  | 0 | 0
9 | 0 | 0 |  | 0 |  | 0 | 0
10 | 0 | 0 |  | 0 |  | 0 | 0
11 | 0 | 0 |  | 0 |  | 0 | 0
12 | 0 | 0 |  | 0 |  | 0 | 0
13 | 0 | 0 |  | 0 |  | 0 | 0
14 | 0 | 0 |  | 0 |  | 0 | 0
15 | 0 | 0 |  | 0 |  | 0 | 0
16 | 0 | 0 |  | 0 |  | 0 | 0
17 | 0 | 0 |  | 0 |  | 0 | 0
18 | 0 | 0 |  | 0 |  | 0 | 0
19 | 0 | 0 |  | 0 |  | 0 | 0
20 | 0 | 0 |  | 0 |  | 0 | 0
21 | 0 | 0 |  | 0 |  | 0 | 0
22 | 0 | 0 |  | 0 |  | 0 | 0
23 | 0 | 0 |  | 0 |  | 0 | 0
24 | 0 | 0 |  | 0 |  | 0 | 0
25 | 0 | 0 |  | 0 |  | 0 | 0
26 | 0 | 0 |  | 0 |  | 0 | 0
27 | 0 | 0 |  | 0 |  | 0 | 0
28 | 0 | 0 |  | 0 |  | 0 | 0
29 | 0 | 0 |  | 0 |  | 0 | 0
30 | 0 | 0 |  | 0 |  | 0 | 0
31 | 0 | 0 |  | 0 |  | 0 | 0
| Total Gallons pumped |  | 0 |  | Total Gallons Long and Short |  | 0
| Drop the last 2 digits from the total gallons |  |  |  | Compare these two numbers
| Leak Check |  | 0 | + 130 = |  |  | 130
PASS
Tank Management Service Inc. |  |  | Topeka Kansas |  | Phone 800-530-5683 or 785-233-1414
Site
Month
|  | Product |  |  | Year
| Tank Diameter |  | Tank Size
|  |  | Water Check |  | Date
INCHS
Gross
| Start | Sales | Loads | Book | Stick | Long
| Inventory |  | In | Inventory | Inventory | Short
1 |  |  |  | 0 |  | 0 | 0
2 | 0 |  |  | 0 |  | 0 | 0
3 | 0 |  |  | 0 |  | 0 | 0
4 | 0 |  |  | 0 |  | 0 | 0
5 | 0 |  |  | 0 |  | 0 | 0
6 | 0 |  |  | 0 |  | 0 | 0
7 | 0 |  |  | 0 |  | 0 | 0
8 | 0 |  |  | 0 |  | 0 | 0
9 | 0 |  |  | 0 |  | 0 | 0
10 | 0 |  |  | 0 |  | 0 | 0
11 | 0 |  |  | 0 |  | 0 | 0
12 | 0 |  |  | 0 |  | 0 | 0
13 | 0 |  |  | 0 |  | 0 | 0
14 | 0 |  |  | 0 |  | 0 | 0
15 | 0 |  |  | 0 |  | 0 | 0
16 | 0 |  |  | 0 |  | 0 | 0
17 | 0 |  |  | 0 |  | 0 | 0
18 | 0 |  |  | 0 |  | 0 | 0
19 | 0 |  |  | 0 |  | 0 | 0
20 | 0 |  |  | 0 |  | 0 | 0
21 | 0 |  |  | 0 |  | 0 | 0
22 | 0 |  |  | 0 |  | 0 | 0
23 | 0 |  |  | 0 |  | 0 | 0
24 | 0 |  |  | 0 |  | 0 | 0
25 | 0 |  |  | 0 |  | 0 | 0
26 | 0 |  |  | 0 |  | 0 | 0
27 | 0 |  |  | 0 |  | 0 | 0
28 | 0 |  |  | 0 |  | 0 | 0
29 | 0 |  |  | 0 |  | 0 | 0
30 | 0 |  |  | 0 |  | 0 | 0
31 | 0 |  |  | 0 |  | 0 | 0
| Total Gallons pumped |  | 0 |  | Total Gallons Long and Short |  | 0
| Drop the last 2 digits from the total gallons |  |  |  | Compare these two numbers
| Leak Check |  | 0 | + 130 = |  |  | 130
PASS
Tank Management Service Inc. |  |  | Topeka Kansas |  | Phone 800-530-5683 or 785-233-1414
Site
Month
|  | Product |  |  | Year
| Tank Diameter |  | Tank Size
|  |  | Water Check |  | Date
INCHS
Gross
| Start | Sales | Loads | Book | Stick | Long
| Inventory |  | In | Inventory | Inventory | Short
1 |  |  |  | 0 |  | 0 | 0
2 | 0 |  |  | 0 |  | 0 | 0
3 | 0 |  |  | 0 |  | 0 | 0
4 | 0 |  |  | 0 |  | 0 | 0
5 | 0 |  |  | 0 |  | 0 | 0
6 | 0 |  |  | 0 |  | 0 | 0
7 | 0 |  |  | 0 |  | 0 | 0
8 | 0 |  |  | 0 |  | 0 | 0
9 | 0 |  |  | 0 |  | 0 | 0
10 | 0 |  |  | 0 |  | 0 | 0
11 | 0 |  |  | 0 |  | 0 | 0
12 | 0 |  |  | 0 |  | 0 | 0
13 | 0 |  |  | 0 |  | 0 | 0
14 | 0 |  |  | 0 |  | 0 | 0
15 | 0 |  |  | 0 |  | 0 | 0
16 | 0 |  |  | 0 |  | 0 | 0
17 | 0 |  |  | 0 |  | 0 | 0
18 | 0 |  |  | 0 |  | 0 | 0
19 | 0 |  |  | 0 |  | 0 | 0
20 | 0 |  |  | 0 |  | 0 | 0
21 | 0 |  |  | 0 |  | 0 | 0
22 | 0 |  |  | 0 |  | 0 | 0
23 | 0 |  |  | 0 |  | 0 | 0
24 | 0 |  |  | 0 |  | 0 | 0
25 | 0 |  |  | 0 |  | 0 | 0
26 | 0 |  |  | 0 |  | 0 | 0
27 | 0 |  |  | 0 |  | 0 | 0
28 | 0 |  |  | 0 |  | 0 | 0
29 | 0 |  |  | 0 |  | 0 | 0
30 | 0 |  |  | 0 |  | 0 | 0
31 | 0 |  |  | 0 |  | 0 | 0
| Total Gallons pumped |  | 0 |  | Total Gallons Long and Short |  | 0
| Drop the last 2 digits from the total gallons |  |  |  | Compare these two numbers
| Leak Check |  | 0 | + 130 = |  |  | 130
PASS
Tank Management Service Inc. |  |  | Topeka Kansas |  | Phone 800-530-5683 or 785-233-1414

## UST monthly inspection
Daily UST Inspection Checklist
Facility ID# |  |  | Facility Name / Address |  |  | Level C Qualified Person Signature |  |  |  |  | Date
If any problem is found contact: |  |  |  |  | Contact information:
Category |  | Description |  |  |  |  | N/A | T1 | T2 | T3 | T4
Leak Detection
The power is on
There are no warning or alarm lights blinking
Automatic Tank Gauge (ATG) |  | There is a liquid measurement for each tank and the reading appears accurate
The printer has paper and is in working condition
Electronic Leak Detection Monitor |  | The power is on
There are no warning or alarm lights blinking
Mechanical Line Leak Detector |  | No customers have complained about slow flow
Daily Inventory |  | Inventory records are reconciled daily and daily variance is within the guidelines
set by the facility owner
Tank Fill Area
Fill cover present, not broken or damaged
Fill Cover |  | Fill covers are identified by color and located on the correct tank
No dirt, trash, water, or product in the spill-containment manhole
Spill-Containment Manhole |  | No cracks, bulges or holes in the spill-containment manhole
(Spill Bucket) |  | Below-grade containment manhole properly latched (if present)
Below-grade containment manhole contains oil absorbent material
Fill Pipe |  | Fill cap is in good condition,seals tightly
No obstruction inside the fill pipe
DESCRIBE ANY DEFICIENCIES HERE:
Instructions: Mark each tank where no problem is observed with a checkmark: / If certain equipment is not required and or not present, mark checklist in the
N/A column. If a defect is found, mark the checklist with an "X," describe the problem in the "DEFICIENCIES" section, and notify the appropriate person.
1a
Monthly UST Inspection Checklist
Facility ID# |  |  | Facility Name / Address |  |  | Level B Qualified Person Signature |  |  |  |  | Date
If any problem is found contact: |  |  |  |  | Contact information:
Category |  | Description |  |  |  |  | N/A | T1 | T2 | T3 | T4
Daily Inspection |  | Daily inspection reviewed, found adrquate, and problems noted have been addressed
Leak Detection | Check the type of Tank leak detection | [5 empty] | ATG | IC | SIR | ATT
Recordkeeping
| Check the type of line leak detection | [5 empty] | ATG | IC | SIR | ATT
Automatic Tank Gauge (ATG) |  | Passing tank test report printed and properly filed
Statistical Inventory Reconciliation (SIR) |  | This month's inventory submitted
last month's results passed and available for inspection
Inventory Control (IC) |  | Inventory reconciled and within the company or regulatory standard
All Tanks
Grade-Level Covers |  | All covers present, and in good condition seated firmly
Spill-Containment Manhole |  | Drin valve in spill containment manhole in good condition
Standard drop tube smooth, no ragged edges, in good condition
Drop Tube |  | Top edge of coaxial drop tube smooth, round, slightly below the top edge of
the fill pipe
Gage Stick |  | Gauge stick can clearly read, is not warped or broken
Check for Water |  | No water present in tank
Tank Vents |  | Vent cap present, vent pipe solidly supported and vertical
Stage 1 Vapor Recovery
Cover present, colored orange, seated firmly at grade, not broken,
cracked or chiped
Two-Point (Dual-Point) Vapor Recovery |  | If spill-containment manhole is present , no dirt, trash,water or product
If spill-containment manhole is present , no cracks, bulges, or holes
Vapor recovery cap present, seals tightly
Observation and Monitoring Wells
Observation well cover is properly identified and secured
Corrosion Protection
Record volt and amp readings, readings consistent with previous month
Impressed Current |  | Record hour meter reading (if present), Reading increases about 700
Cathodic Protection |  | hours each month
1b
DESCRIBE ANY DEFICIENCIES HERE:
Instructions: Mark each tank where no problem is observed with a checkmark: / If certain equipment is not required and or not present, mark checklist in the
N/A column. If a defect is found, mark the checklist with an "X," describe the problem in the "DEFICIENCIES" section, and notify the appropriate person.
2b